## Slide 1
AWG Keysight
33622A
Excitation
Fiber Launch
APD
NI USB-6008
ao0
ao1
Green laser
Coherent Sapphire 532
AOM
Fiber Coupler
Lens
Mirror
Beam splitter
Camera
Photodiode
Objective
Dichroic
Sample
PCB
Nanopositioning system
Manual translation stage
532 nm notch filter &
633 nm long pass filter
Collection
Fiber Launch
Magnet
NI USB-6008
ao0
ao1
Nanopositioning system controller
Z
X
Y
Swabian Time Tagger
1
2
3
4
Digilent Analog Discovery2
1
2
3
4
SRS SG384
Signal generator
MW switch
MW amplifier
MW terminator
DO
0
TTL
+5V
-5V
V+
V-
I
Q
PC
NV lab setup diagram

## Slide 2
Nitrogen Vacancy Center
Nitrogen Vacancy (NV) center in the diamond lattice
NV spin dynamics
Picture source: https://en.wikipedia.org/wiki/Nitrogen-vacancy_center

## Slide 3
NV center properties
Zeeman effect under external magnetic field
NV absorption and photoluminescence spectra
Picture source: https://en.wikipedia.org/wiki/Nitrogen-vacancy_center
Nature communications 4.1 (2013): 1-7.

## Slide 4
Lab mission
Run confocal scans to find your NV center.
Optically detected magnetic resonance (ODMR) experiment to find NV transition frequencies.
Rabi measurement to calibrate and pulses.
Characterize your NV qubit coherence time.
Confocal image
ODMR
Rabi